## Slide 1: Ron dorszynski nephew of former pastor Monsignor Julius Dorszynski

## Slide 2: Saint Hyacinth​ church roof replacement
Protecting our place of worship

## Slide 3
A VIEW FROM ABOVE

## Slide 4: ROOF ESTIMATED TO BE 70 – 80 YEARS OLD
FIELD AREA DEFECTS

## Slide 5
IMPROPER OR FAILING REPARS

## Slide 6
LEAKAGE CAN DAMGE WOOD ROOF DECK AND BUILDING INTERIOR

## Slide 7
MISSING SHINGLE & DAMAGED GUTTER

## Slide 8
SHINGLE DAMAGE AT VALLEY

## Slide 9
DEFECTIVE GUTTERS

## Slide 10
DEFECTIVE OUTLET AND DOWNSPOUT

## Slide 11
WORN ROOF-TO-WALL FLASHINGS

## Slide 12
DEFECTIVE COPPER RIDGE CAP

## Slide 13: The steel on the cupola shows signs of corrosion which can allow water to leak into the church.

## Slide 14
TRIM AND SIDE PANELS WERE CORRODED

## Slide 15
CORROSION ABOVE THE FLASHNGS WAS CRITICAL

## Slide 16
THERE IS A SMALLER SECTION OF ROOF ABOVE THE ALTAR

## Slide 17
THE HIP CAP SHINGLES ARE HEAVILY DAMAGED

## Slide 18: HERE COMES THE WATER!
WIND-DRIVEN RAIN DRAINS INTO BUCKETS IN THE ATTIC.
WATER CAN STAIN & DAMAGE THE PAINT AND PLASTER ON THE CEILING AND WALLS.
WATER CAN DAMAGE PEWS AND CARPETING.
WATER CAN DAMAGE ELECTRICAL AND HVAC COMPONENTS IN THE ATTIC.

## Slide 19: WHAT NEEDS TO BE DONE?
REMOVE ASBESTOS SHINGLES, FELT, METAL FLASHINGS & GUTTERS.
RESTORE CUPOLA.
INSTALL NEW ROOFING AND FLASHINGS.
INSTALL NEW GUTTERS AND DOWNSPOUTS.

## Slide 20: ROOF REPLACEMENT OPTIONS
1- PREMIUM GRADE ASPHALT SHINGLE
(CERTAINTEED LANDMARK PRO)
2- LUXURY BRAND ASPHALT SHINGLE
(CERTAINTEED GRAND MANOR)
3- SYNTHETIC / COMPOSITE SLATE
(ECOSTAR MAJESTIC SLATE)

## Slide 21
CERTAINTEED LANDMARK PRO (Est 30-YEAR LIFE)
LIFETIME LIMITED MATERIAL WARRANTY

## Slide 22
CERTAINTEED GRAND MANOR (EST 40-YEAR LIFE)
LIFETIME LIMITED MATERIAL WARRANTY

## Slide 23
ECOSTAR MAJESTIC SLATE (EST 50-YEAR LIFE)
50-YEAR LIMITED MATERIAL WARRANTY

## Slide 24: Sheet metal components - new copper valley liners - new ridge cap trim - new flashings

## Slide 25: Cupola - replace corroded steel at base of cupola. - SPOT REPAIR OF BALANCE OF CUPOLA. - Replace shingles if money is available.

## Slide 26: Gutters - Soldered copper gutters Downspouts - Galvanized steel (discourage theft of copper downspouts)

## Slide 27: Scaffolding - Scaffolding would be installed below all roof areas. - Necessary for installing and soldering gutters

## Slide 28: TIMING - The roof needs to be replaced as soon as possible. - Prevent interior damage. - MONEY IS A CRITICAL FACTOR.